## Slide 1: Target Company Acquisition – IT findings
Marco Ermini – October 22, 2015

## Slide 2
No significant IT issues to acquisition or challenges to integration found
Microsoft server software license transfer not completed jet
Maintenance contracts expired for major infrastructure components
Desktop Environment
  Small (24) workforce with company owned laptops/desktops (3 years average) and mobile devices
  Remote Desktop access for most users
  Office 2013

## Slide 3
Server / Infrastructure Environment
  Minimal on premise computer systems (small data room / 2 racks)
  Microsoft Small Business 2008 Premium (Exchange, AD, DNS, etc.)
  Most equipment EOL (4+ years)
  10x virtual servers on local hardware
Production Systems
  ERP: Microsoft Dynamics C5 – on premise
  CRM: Microsoft Dynamics CRM – hosted at External Hosting Data Center
  Old CRM: “Superoffice” – to be retired in 12/2015
  Web shop: www.xyz.com hosted at External Hosting, Inc.